## Slide 1: Zoetis Carbon Reduction Challenge
Reduce carbon emissions and energy use in Atlanta Zoetis cleanrooms by lowering airflow during off-hours.

## Slide 2: Background and Motivation
People drive particles
At Rest = Less Particles
Facility Map

## Slide 3: Carbon Reductions and Cost Savings
Annual CO2 Savings vs. % Reduction in Air Changes per Hour
Chart: Years
 | -12229.2766 | 3947.3843 | 19296.5896 | 33860.6647 | 47679.7699 | 60792.0114 | 73233.5461 | 85038.6814 | 96239.9699 | 106868.2991 | 116952.9766 | 125374.7957 | 134454.1726 | 143069.1285 | 151243.4191 | 158999.5849 | 166359.0136 | 173341.9987 | 179967.7958 | 186254.6754 | 192219.9736 | 197880.1397 | 203250.7815 | 208346.7086 | 213181.9729
Net Present Value Accumulation Over Time
Chart: % Reduction in Air Changes per Hour (ACH)
| 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
 | 0 | 5.0193 | 9.8378 | 14.4597 | 18.889 | 23.1298 | 27.1864 | 31.0626 | 34.7627 | 38.2907 | 41.6508 | 44.847 | 47.8834 | 50.7641 | 53.4933 | 56.075 | 58.5132 | 60.8122 | 62.976 | 65.0087 | 66.9144 | 68.6972 | 70.3612 | 71.9104 | 73.3491 | 74.6812 | 75.911 | 77.0424 | 78.0795 | 79.0266 | 79.8876 | 80.6667 | 81.3679 | 81.9954 | 82.5533 | 83.0455 | 83.4764 | 83.8499 | 84.1701 | 84.4412 | 84.6672 | 84.8522 | 85.0004 | 85.1158 | 85.2025 | 85.2646 | 85.3063 | 85.3316 | 85.3445 | 85.3493 | 85.35

## Slide 4: Co-benefits

## Slide 5: Next Steps
Present to Executive Team
QA validation at reduced ACH
SOP updates
Expand across global operations